Installing the Environics S4000 v1 software on Windows 7

To run the S4000 v1.x.x software on Windows 7 (32 bit version), you will need to use Windows XP mode.   Most PC’s come with XP mode pre-installed.

Click  Start - Windows Virtual PC - Windows XP Mode

If Windows XP Mode is not listed in the Start menu, 
it has not been pre-installed on your PC

You can download it for free from Microsoft.com

http://www.microsoft.com/windows/virtual-pc/download.aspx

Download and Install XP mode before going to the next step.

Insert the Environics CD

Inside the XP Mode window, click the Start button

Select My Computer, double click the  CD or DVD icon.

Locate the  SETUP.EXE file on the CD and double click it to start installation of the S4000 software

After software is installed, go to the top of the XP Mode windows, select Tools - Settings.

Make sure COM1 is set to the Physical COM port on the PC.

Note: If your PC does not have a serial port, you may have difficulty communicating with the S4000 using a USB/Serial adapter.  Many adapters are not compatible with Windows XP mode.  Environics strongly recommends purchasing a PC with a built in serial port.