Replacing Service Port Plug on Rear Panel of 6202-1

Please replace the Nylon plug with a Teflon-taped Stainless Steel Plug as follows:

- Carefully remove P/N FA124-01-N04, the Nylon plug, from the port labeled “Service” on the rear panel of the 6202-1.

- Insert P/N FA123-03-S04, the Teflon-taped Stainless Steel replacement plug.

BE CAREFUL TO NOT OVERTIGHTEN THIS FITTING.

The Service port should remain plugged at all times.